2016 Environmental Rounds

Department: ______________________ Date: __________ Surveyor: ________________________

| Question | Y | N | N/A |
| --- | --- | --- | --- |
| Does your department have any concerns? (patient safety, infection control, risk, compliance or other) Please comment on the back if answered “yes.” |  |  |  |
| Do you allow storage of heavy items overhead? |  |  |  |
| Ceiling tiles, walls and carpeting are free from stains and discoloration from water damage. If no, has a work order been made out to replace? |  |  |  |
| Are all plugs, cords, electrical panels, and receptacles in good condition (no exposed conductors or broken insulation)? |  |  |  |
| Are EXIT signs operational and visible? |  |  |  |
| All portable fire extinguishers in your area have current inspection tag and gage shows charged? |  |  |  |
| All sprinkler “heads” and smoke detectors in the department are free from dust? |  |  |  |
| For security reasons, when an individual is walking about without visible “staff badge” or “visitor badge.” During the day, are they asked if they need assistance? Evening hours asked to show proper identification/badging? |  |  |  |
| Ace Alarm button in your area is tested periodically? |  |  |  |
| Good hygienic practices verified. Staff does not work with patient’s food or utensils while eating or drinking? |  |  |  |
| All equipment in department has been checked by Plant Engineer prior to use? |  |  |  |
|  | Provide Written Answer |
| Name your department’s task for the 2016 Job Hazard Analysis. |  |
| Name locations of sidewalks, driveways or parking areas that may need repair due to potholes, cracks, upheaval, etc. that could contribute to falls or unsafe walking conditions. |  |
| List any exterior areas that seem to be unsafe due to lack of lighting or non-working lighting |  |
| Care Departments | Answers |
| What is a “Time Out” used for? |  |
| Write down what should be done if staff members are made aware of a patient missing? |  |
| Describe the proper patient transfer and patient movement techniques? |  |
| Name what Scheurer Hospital uses for two patient identifiers. |  |
| All clinical technology equipment has “current’ preventative maintenance tag is clean and in proper working order? | Y | N | N/A |
| The linen carts, hampers or supply carts are not “parked” in corridors? |  |  |  |
| There are no more than 12 “E” size oxygen cylinders stored in a unit? |  |  |  |
| All isolation carts are fully stocked with appropriate PPE’s? |  |  |  |
| Are patient care items stored appropriately – not under sinks? |  |  |  |
| Are medications kept in a locked and secured area? |  |  |  |
| Universal biohazardous waste stickers are affixed to sides and top of container and door to trash collection room? |  |  |  |
| Staff knows not to overfill garbage bags? |  |  |  |